|  |  |  |
| --- | --- | --- |
| Sub | : | Technical acceptance of bids on GEM portal for purchase of well glass lights for CHP. |
| Bid | : | GEM/2020/B/554438 |

| SL | BIDDER | ACCEPTABILITY | REASON |
| --- | --- | --- | --- |
| 1 | SHARWAN COMPUTERS | Not acceptable | Offered fittings are not well glass type. |
| 2 | GLYNC TECH PRIVATE LIMITED | Not acceptable | Offered fittings are not well glass type. |
| 3 | GLYNC TECH PRIVATE LIMITED | Not acceptable | Offered fittings are not well glass type. |
| 4 | SHEETAL CHHAYA | Not acceptable | Offered fittings are not well glass type. |
| 5 | FORTUNEARRT LED LIGHTING PRIVATE LIMITED | Not acceptable | Offered fittings are not well glass type. |
| 6 | CLASSIC ENGINEERS | Acceptable | Well glass type fittings offered |
| 7 | Ascentech Lightening Solution | Acceptable | Well glass type fittings offered |
| 8 | CHANDEL ASSOCIATES | Not acceptable | Offered fittings are not well glass type. |
| 9 | GANIT STAR ENGINEERING | Not acceptable | Offered fittings are not well glass type. |
| 10 | B R ELECTROSYSTEMS PRIVATE LIMITED | Not acceptable | Offered fittings are not well glass type. |
| 11 | sai divine distributors | Not acceptable | Offered fittings are not well glass type. |
| 12 | KINJAL ELECTRICALS PVT LTD | Not acceptable | Offered fittings are not well glass type. |
| 13 | lotus enterprises | Not acceptable | Offered fittings are not well glass type. |
| 14 | M/s KAVERI ENTERPRISES | Not acceptable | Offered fittings are not well glass type. |
| 15 | ASCO SWITCHGEARS PRIVATE LIMITED | Not acceptable | Offered fittings are not well glass type. |
| 16 | Shree Shyam Electricals | Not acceptable | Offered fittings are not well glass type. |
| 17 | NIDHI ENTERPRISES | Not acceptable | Offered fittings are not well glass type. |
| 18 | GAURAV HEAVY ENGINEERING (INDIA) PRIVATE LIMITED | Not acceptable | Offered fittings are not well glass type. |

Dy. Manager(E&M)/CHP

CHP-i/c

SO(E&M)/DCH