|  |  |  |
| --- | --- | --- |
| Sub | : | Indent for procurement of miscellaneous electrical consummables. |
| Indent Amount | : | Rs. 3,95,279.18 |
| Please find enclosed herewith an indent for procurement of miscellaneous electrical consummables.  It has been felt that existing electrical insulation mats on the floors of substation no 1,2,4,5 and 6 needs to be replaced, Some mats are torn and the remaining ones have developed cracks due to age and weathering. Their insulating properties cannot be trusted. It will be therefore prudent to replace the mats for proper safety.  Electrical insulation mats are available in GEM portal.  This item is decentralized consummabes in nature.  Put up for kind approval.    Encl: INDT/19-20/1037/182000 dtd. 14.10.2019 | | |
| In-charge, CHP  Dudhichua Project | | |