To

The in-charge, Sales

Dudhichua Project.

**Sub: Unauthorised and unsafe electrical connections at road-weighbridges near CHP.**

Dear sir,

This is to bring to your notice that some tipper operators are drawing unauthorized electrical connections from weighbridge rooms for repairing their tippers. They are connecting their welding machines to the lighting circuits. As the circuit cannot handle the load of welding machines, the cable burnt on 3-4-2020 evening, and power of the weighbridge remained disturbed overnight. The power has been restored in the morning after removing one such unauthorized connection.

Such connections are not only unauthorized but are also extremely unsafe as loose wires are being connected without any protection and tripping. This practice therefore must be stopped immediately. You are requested to instruct the tipper operators accordingly.

Yours faithfully

In-charge, CHP

Dudhichua Project

Copy: for kind information please.

1. GM(E&M), Dudhichua area
2. PO, Dudhichua project
3. PE(E&M), Dudhichua project