**Motor Failure Report**

|  |  |  |
| --- | --- | --- |
| **Machine Details** | **:** | **125kW, HT Induction motor.** |
| **Make** | **:** | **Kirloskar Electric Company Ltd.** |
| **Capacity** | **:** | **125kW** |
| **Supply** | **:** | **6.6kV, 3phase** |
| **RPM** | **:** | **1485** |
| **Serial No** | **:** | **3000807-1** |
| **Failure Date** | **:** | **19.07.2019** |

**Motor with above mentioned details was installed on conveyor 1.1 as primary drive motor.**

**The motor earthed on 19.07.2019 while was in normal running and caused tripping on earthed fault through MPR.**

|  |  |  |  |
| --- | --- | --- | --- |
| **I/c, CHP/DCH** | **Dy. Mgr(E&M)/CHP** | **SOE(E&M),CHP** | **Foreman** |