**Motor Failure Report**

|  |  |  |
| --- | --- | --- |
| **Machine Details** | **:** | **150kW, HT Induction motor.** |
| **Make** | **:** | **CG** |
| **Capacity** | **:** | **150kW** |
| **Supply** | **:** | **6.6kV, 3phase** |
| **Serial No** | **:** | **2003211/3** |
| **Failure Date** | **:** |  |

**Motor with above mentioned details was installed on conveyor 2.2 as drive motor. The motor earthed during starting and caused tripping on earthed fault through MPR.**

|  |  |  |  |
| --- | --- | --- | --- |
| **I/c, CHP/DCH** | **Dy. Mgr(E&M)/CHP** | **SOE(E&M),CHP** | **Foreman** |

**Motor Failure Report**

|  |  |  |
| --- | --- | --- |
| **Machine Details** | **:** | **200kW, HT Induction motor.** |
| **Make** | **:** | **CG** |
| **Capacity** | **:** | **150kW** |
| **Supply** | **:** | **6.6kV, 3phase** |
| **Serial No** | **:** | **2003211/3** |
| **Failure Date** | **:** |  |

**Motor with above mentioned details was installed on conveyor 2.2 as drive motor. The motor earthed during starting and caused tripping on earthed fault through MPR.**

|  |  |  |  |
| --- | --- | --- | --- |
| **I/c, CHP/DCH** | **Dy. Mgr.(E&M)/CHP** | **SOE(E&M), CHP** | **Foreman** |