|  |  |  |
| --- | --- | --- |
| *Sub* | *:* | *Repairing, rewinding of 4 nos (2 nos 200 kW and 2 nos 150kW) HT induction conveyor drive motors of CHP, Dudhichua Project.  .* |
| *Amount* | *:* | *Rs. 8,22,428.00* |
| *2 nos 200kW and 2 nos 150kW HT induction conveyor drive motors are required to be rewound/repaired which failed during normal running at CHP.* | | |
| *Specialized tools and trained manpower required for this nature of job are not available departmentally. Therefore, it is proposed to get the work done by engaging outside agency through tendering process. An estimate has been prepared and enclosed herewith based upon previous awarded work orders of similar job.* | | |
| *Supply items involved with rewinding works are not available in the project. These items are procured by CWS, jayant. However, CWS, jayant does not take motors of this rating for rewinding. Moreover, in order to claim comprehensive guarantee/warranty from the repairer for both material and workmanship, it is prudent to take the supply from the repairer itself. Competent approval thus may please be granted for above repairing works inclusive of supply.* | | |
| *In-charge, CHP*  *Dudhichua Project* | | |