|  |  |  |
| --- | --- | --- |
| *Sub* | *:* | *Stator rewinding of 90kW induction motor used in plough feeder of CHP, Dudhichua Project.* |
| *Amount* | *:* | *Rs. 47,414.00* |
| *The subject motor is used in plough feeder of CHP. The motor failed during regular course operation. It was discovered that the stator windings have earthed and therefore needs to be rewound.* | | |
| *Specialized tools and trained manpower required for this nature of job are not available departmentally. Therefore it is proposed to get the work done by engaging outside agency through tendering process. An estimate has been prepared and enclosed herewith based upon previous awarded work orders of similar job.* | | |
| *Supply items involved with rewinding works are not available in the project. These items are procured by CWS, jayant. However, CWS, jayant does not take motors of this rating for rewinding. Moreover, in order to claim comprehensive guarantee/warranty form the repairer for both materials and workmanship, it is prudent to take the supply from the repairer itself. Competent approval thus may please be granted for above repairing works inclusive of supply.* | | |

*In-charge, CHP*

*Dudhichua Project*

*PE (E&M)/DCH*