|  |  |  |
| --- | --- | --- |
| Work | : | Repairing, rewinding of 3 nos 15kW LT induction motors of CHP, Dudhichua Project. |
| Amount | : | ₹ 46,668.00 |
| These motors are used in sump pump of phase-1 at CHP. During regular course of operation these motors failed due to water ingress during heavy rain.  Specialized tools and trained manpower required for this nature of job are not available departmentally. CWS-jayant does not accept motors below 250kW for rewinding. Therefore, it is proposed to get the work done by engaging outside agency through tendering. An estimate has been prepared and enclosed herewith based upon previous awarded work orders of similar job.  In order to claim comprehensive guarantee/warranty from the repairer, it is prudent to take the supply from the repairer itself.  Forwarded for competent approval and sanction. | | |
| In-charge, CHP  Dudhichua Project | | |
| PE (E&M)/DCH | | |