|  |  |  |
| --- | --- | --- |
| Work | : | Repairing, rewinding of a 90kW LT induction motor of CHP, Dudhichua Project. |
| Amount | : | ₹ 47,900.00 |
| This motor is used in plough feeder of phase-1 at CHP. During regular course of operation, the motors failed due to insulation failure.  Specialized tools and trained workforce needed for this nature of job are not available departmentally. CWS-jayant does not accept motors below 250kW for rewinding. Therefore, it is proposed to get the work done by engaging outside agency through tendering. An estimate has been prepared and enclosed here based upon earlier awarded work orders of similar job.  To claim comprehensive guarantee/warranty from the repairer, it is prudent to take the supply from the repairer itself.  Forwarded for competent approval and sanction. | | |
| In-charge, CHP  Dudhichua Project | | |
| PE (E&M)/DCH | | |