**COAL HANDLING PLANT**

**DUGHICHUA PROJECT**

|  |  |
| --- | --- |
| DCH/CHP/2019-20/ | Date: 19.02.2020 |

Status of Bajaj make, high mast towers maintained by CHP.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sl** | **Tower** | **Location** | **Installed lights** | **Glowing lights** |
| 1 | HMT-1, Bajaj | VTC Corner | 6 | 6 |
| 2 | HMT-2, Bajaj | Old silo sampling side | 10 | 10 |
| 3 | HMT-3, Bajaj | Between old and new silo | 6 | 6 |
| 4 | HMT-4, Bajaj | Warf-wall front side | 8 | 8 |
| 5 | HMT-5, Bajaj | Warf-wall rear side | 8 | 6 |

Yours’s faithfully

I/c, CHP

Dudhichua Project

Cc:

1. GM(E&M), DCH
2. PE (E&M), Dudhichua Project.