Motors sent to CWS, Jayant for repairing.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sl. | Date of Hand Over to CWS | Details of Motor | Associated Job  (at CWS Jayant ) | Remarks |
| Field | | | | |
| 1 | 12.06.18 | 400kW Kirloskar make | Motor earthed |  |
| 2 | 29.07.18 | 400kW Kirloskar make | rewinding |  |
| 3 | 2017 | 400kW CG make | Ground fault |  |
| 4 | 17.01.19 | 400kW CG make | Ground fault |  |
| 5 | 03.03.19 | 220kW GE make | heating |  |
| 6 | 13.12.18 | 230kW GE make | Outer housing repairing |  |
| 7 | As per old record | 230kW GE make | Repairing |  |
| 8 | As per old record | 230kW GE make | Repairing |  |
| 9 | 24.01.19 | 300kW GE make | Rotor jammed |  |
| CHP | | | | |
| 10 | 06.01.2017 | 132kW Kirloskar make | Rewinding work |  |
| 11 | 24.04.2017 | 150kW CG make | Rewinding work |  |
| 12 | 15.08.2017 | 200kW CG make | Rewinding work |  |
| 13 | 15.05.2018 | 200kW CG make | Rewinding work |  |