## Sheet1
Electrical consummables for CHP
SL | ITEM | SPECIFICATION | SPEC TYPE
1 | Industrial plug and socket with double pole MCB, 20A | Industrial plug and socket with double pole MCB, 20A | Agree/Disagree
2 | ICTP, 63A | ICTP, 63A | Agree/Disagree
3 | HT insulation tester (megger) | HT insulation tester (megger), test volatage -5kV or higher. | Agree/Disagree
4 | Air blower, 600W | Air blower, 600W | Agree/Disagree
5 | Blinking traffic light | Blinking traffic light, 220V supply, 24cm or larger dia. | Agree/Disagree
6 | Flexible PVC copper cable, single core, 4 sqmm | Flexible PVC copper cable, single core, 4 sqmm | Agree/Disagree
7 | Flexible PVC copper cable, 3core x 4sqmm | Flexible PVC copper cable, 3core x 4sqmm | Agree/Disagree
8 | Flexible PVC copper cable, single core, 2.5 sqmm | Flexible PVC copper cable, single core, 2.5 sqmm | Agree/Disagree
9 | MCB, double pole, 25A | MCB, double pole, 25A | Agree/Disagree
10 | MCB, 4 pole, 63A | MCB, 4 pole, 63A | Agree/Disagree
11 | Line tester, 500V | Line tester, 500V | Agree/Disagree
12 | Combination plier, insulated | Combination plier, insulated, as per is: 6149 | Agree/Disagree
13 | Hacksaw blades, 300mm x 12mm | Hacksaw blades, 300mm x 12mm | Agree/Disagree
14 | PVC adhesive tape, 18mm x 10m | PVC adhesive tape, 18mm x 10m | Agree/Disagree
15 | Flexible copper cable, 4core x 6sq mm EPR insulated | Flexible copper cable, 4core x 6sq mm EPR insulated | Agree/Disagree
16 | Flexible copper PVC cable, 4core x 10sqmm | Flexible copper PVC cable, 4core x 10sqmm | Agree/Disagree
17 | PVC rope 5mm, 31swg for pull chord | PVC rope 5mm, 31swg for pull chord | Agree/Disagree
18 | Contact cleaner spray | Contact cleaner spray | Agree/Disagree
19 | Hooter/Siren 0.5km range, 220V | Hooter/Siren 0.5km range, 220V | Agree/Disagree