| Sub | : | Approval for modification of CHP control configuration. |
| --- | --- | --- |
| In the present configuration, the conveyor C-8A, which feeds from conveyor C-5A and discharges into SILO-2 has control at SS-6, but the preceding conveyor C-5A has control at SS-5. Therefore, two separate control room operators are required for loading through SILO-2. It is proposed that control of conveyor C-8A is brought to SS-5, so that the same operator which conrols conveyor C-5A can also control C-8A. For this, necessary modifications are required in power, control and interlocking circuits of CHP, which grossly involves extension of relevant cables from SS-6 to SS-5 and commissioning of a new control desk at SS-5. Competent approval is therefore requested for necessary modification in the power, control and interlocking circuits of CHP, Dudhichua for bringing control of conveyour C-8A from SS-6 to SS-5. |  |  |
| In-charge, CHP Dudhichua Project |  |  |