## IMPORT
Northern Coal fields Limited
CHP, Dudhichua Project
No. DCH/CHP/2017-18/442 DTD.07.03.2018
To
The General Manager (E&M)
Dudhichua Project
Details of LED Light fitting issued to CHP, Dudhichua
DATE | 200W | 120W | 45W | 20W TUBE
2016-12-23 |  | 10
2017-01-11 |  | 6
2017-01-13 |  | 2
2017-01-15 |  | 2
2017-01-29 |  | 20
2017-02-06 |  | 15
2017-03-05 | 10 | 15
2017-03-15 |  | 2 | 25
2017-05-09 |  | 1 |  | 20
2017-06-04 |  | 2 | 25
2017-07-01 | 20
2017-08-05 | 10
2017-08-15 | 12
2017-08-30 | 10
2017-08-30 |  |  |  | 10
2017-09-25 | 4
2017-10-22 | 5
2017-11-26 |  |  |  | 20
TOTAL | 71 | 75 | 50 | 50
Incharge CHP
Dudhichaua Project
Cc,
1. Project Engineer (E&M), Dudhichua.

## THEFT
Northern Coal fields Limited
CHP, Dudhichua Project
No. DCH/CHP/2017-18/443 DTD.07.03.2018
To
The General Manager (E&M)
Dudhichua Project
Details of theft & failled LED Light to CHP, Dudhichua
Theft LED light
DATE | LOCATION | 200W | 120W | 45W | 20W TUBE
2017-05-30 | SILO 1 DISCHARGE CHUTE |  | 1
2017-09-07 | SS 5 MCC ROOM |  | 1
2017-10-04 | PH 1 CRUSHER LIGHTING TOWER | 2
2017-10-16 | PH-1 APRON FEEDER |  |  | 1
2017-11-04 | PH 1 CRUSHER LIGHTING TOWER | 4
2017-11-05 | PH 2 CRUSHER LIGHTING TOWER | 3
2017-12-08 | PH 2 CRUSHER SHADE | 4
2018-02-08 | PH 1 LIGHTING TOWER NEAR CRUSHER SHED | 4
TOTAL |  | 17 | 2 | 1 | 0
Failed &defective LED light fittings
Sl No | LOCATION | 200W | 120W | 45W | 20W TUBE
1 | Phase I CHP crushing section(SS-1) | nil | 3 | 1 | Nil
2 | Phase I CHP reclaim section(SS-2) | 1 | Nil | 1 | Nil
3 | Phase II CHP crushing section(SS-4) | 1 | 2 | 2 | 2
TOTAL |  | 2 | 5 | 4 | 2
Incharge CHP
Dudhichaua Project
Cc,
1. Project Engineer (E&M), Dudhichua.

## EXISTING
LOCATION | 200W | 120W | 45W | 20W TUBE
PHASE 1 CRUSHER HOUSE
PHASE 1 CRUSHER LIGHTING TOWER
CONV 1.1 & 1.2
DRIVE HOUSE 1
CONV 2.1 & 2.2
2.1 & 2.1 COUNTER WEIGHT AREA
CONV 3.1 & 3.2
CONV 3.1 & 3.2 COUNTER WEIGHT AREA
CONV 4.1 & 4.2
CONV 5.1 & 5.2
DRIVE HOUSE 2
SILO 1
PHASE 2 CRUSHER HOUSE
PHASE 2 CRUSHER LIGHTING TOWER
CONV C1
CONV C2
CONV C3
CONV C4
CONV C5
CONV C6
CONV C7
CONV C8
CONV C9
CONV C10
CONV C11
LIGHTING TOWER 2
CHP OFFICE
SS 1
SS 2
SS 3
SS 4
SS 5
SS 6
PORTABLE
FAILED

## SUMMARY
| 200W | 120W | 45W | 20W TUBE
IMPORT | 71 | 55 | 50 | 50
THEFT | 13 | 2 | 1 | 0
INSTALLED
FAILED |  | 2 | 3 | 1
| 58 | 51 | 46 | 49