## EVENT
SL | DATE | MACHINE | EVENT | REMARK | KW | MAKE
1 | 2016-03-15 | 89MSTH019 | RECORDED AS FAILED | CV1.1 | 132 | HYN
2 | 2016-03-15 | 28909115-3 | RECORDED AS IDLE | AT SS-5 | 90 | KBL
3 | 2016-07-08 | 3080909-02 | SENT TO CWS |  | 250 | KBL
4 | 2016-07-05 | 3080909-02 | FAILED | C2 | 250 | KBL
5 | 2016-07-08 | 89MSTH-14 | SENT TO CWS |  | 150 | HYN
6 | 2018-05-14 | 89MSTH-14 | RECEIVED FROM CWS |  | 150 | HYN
7 | 2016-07-01 | 89MSTH-14 | FAILED | CV2.1 | 150 | HYN
8 | 2016-07-02 | 2003210/2 | RECORDED AS IDLE | AT SS-5 | 200 | CG
9 | 2018-05-14 | 3990805-1 | RECEIVED FROM CWS | EIE/DCH/16-17/0707 | 150 | KBL
10 | 2018-05-14 | 3990804-1 | RECORDED AS IDLE | AT SS-5 | 400 | KBL
11 | 2018-05-14 | A128527 | RECORDED AS FAILED | HE PUMP | 11 | ABB
12 | 2018-06-07 | L8/154682 | SENT TO AGENCY | SUNIL ELECTRICALS | 15 | SIEMENS
13 | 2018-01-01 | L8/154682 | FAILED | SUMP PUMP | 15 | SIEMENS
14 | 2018-06-07 | L8/154683 | RECORDED AS FAILED | PH-2 VENTILATION FAN | 15 | SIEMENS
15 | 2018-06-08 | 072518 | RECORDED AS IDLE | SANDEEP ELECTRICALS | 15 | NA
16 | 2018-06-08 | SIEMENS/15/1 | RECORDED AS IDLE | SS-5 | 15 | SIEMENS
17 | 2018-05-13 | N8/154779 | SENT TO AGENCY | SANDEEP ELECTRICALS | 22 | SIEMENS
18 | 2018-01-05 | N8/154779 | FAILED | PH-1 VENTILATION FAN | 22 | SIEMENS
19 | 2018-05-13 | 203209 | RECORDED AS FAILED | PH-2 PUMP HOUSE | 11 | ABB
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46

## MACHINE
MACHINE | KW | MAKE
89MSTH019 | 132 | HYN
28909115-3 | 90 | KBL
3080909-02 | 250 | KBL
89MSTH-14 | 150 | HYN
2003210/2 | 200 | CG
3990805-1 | 150 | KBL
3990804-1 | 400 | KBL
A128527 | 11 | ABB
L8/154682 | 15 | SIEMENS
L8/154683 | 15 | SIEMENS
072518 | 15 | NA
SIEMENS/15/1 | 15 | SIEMENS
N8/154779 | 22 | SIEMENS
203209 | 11 | ABB

## LIST
FAILED
INSTALLED
SENT TO CWS
RECEIVED FROM CWS
SENT TO AGENCY
RECIIVED FROM AGENCY
RECORDED AS FAILED
RECORDED AS IDLE
RECORDED AT CWS
OTHER